TORCH LAKE TOWNSHIP

ANTRIM COUNTY, MICHIGAN

Special Planning Commission Meeting MinutesAPPROVED AS PREPARED 4-0

September 15, 2014, 7:30 p.m.

Community Service Building

Torch Lake Township

Present:	Walworth, Jorgensen, Juall, Joseph, King

Others:	Olsen, Grobbel, Kirk and Cindy Hoisington (applicants), Bryan Rowley, engineer from Gourdie Fraser

The purpose of the meeting was to review the Planner’s Findings of Fact and owner’s Site Plan Review application for the expansion of Torch Bay Inn, Eastport, MI.

Rowley sent email to Grobbel reviewing permit status from the involved agencies.

- The Health Department of Northwest Michigan issued a permit based on their inspection of property.

- Antrim County Soil Erosion office stated that a permit was not required, based on the 25-year rainfall event stored in retention basins.

- Michigan Department of Transportation will not require a permit.

Proposal is for the expansion of the existing Torch Lake Inn from eight (8) existing motel units and one (1) existing residence to a total of sixteen (16) motel units and the residence, representing a proposed eight (8) additional units.  There will be no changes or alterations to signage or lighting; changes will be to the north and rear of building.

Grobbel presented Planner’s Findings of Fact and said that the Planning Commission will make decision, not the Torch Lake Township Board.  Property is zoned Village-Business on both sides and rear.  Adjacent property is R-1.

Section 10.05 – General Regulations - Village Business District

Items A and E – Standard has been met.

Items B and D – Not applicable.

Item C – Standard has been met with condition:  Existing vegetative buffers/screening to be retained and maintained and privacy fencing to be installed and maintained to adequately screen property from adjacent residential land uses.

Application for Site Plan Review

Section 18.04

Standard has been met.

Section 18.04.A.2

Site plans have adequately met requirements with conditions:

- Location of water supply line shut off valves be depicted

- Screening of trash receptacle be depicted as having been increased in height to 8 feet above grade

- Existing vegetative buffers/screening to be retained and maintained

- Proposed exterior lighting be depicted as downward directed and shielded

Section 18.04.A.2.A  Items A-E

Standard has been met.

Section 18.05 – Site Plan Review and Approval

Site Plan approved as presented with conditions.

Section 18.06 – Agency Review

Relevant agency approval and supporting documentation adequately addressed requirements.  Site Plan conditionally approved provided documentation of existing Torch Lake Township Fire Department approval is attached to the Application.

Section 18.07 – Standards for Site Plan Approval

Standards have been met.

Section 17.01 – Special Uses, Chapter XVII

D.	Items 1-3, standards have been met.

Item 4, standard met with condition that vehicle parking will not be allowed within right-of-way of U.S. 31.

Items 5-6, standards have been met.

Item 7, standard met with condition that utilities will be underground.

Item 8, standard met with condition that lighting will be adequate, shielded and downward directed.

Items 9-11, standards have been met.

- Standards for approval:

Items 1-4, standards have been met.

As-built plans to be submitted upon completion.

Meeting adjourned at 8:36 p.m.